## Slide 1
MDT 4th September 2023
Injection efficiency and Dynamic Aperture optimization
S.Liuzzo, P.Raimondi, N.Carmignani
Using Badger and Xopt by R.Roussel and Z.Zhang (SLAC)

## Slide 2: Injection efficiency optimizations
Optimizations
Up to 82%
TuRBO optimization
~75%
Collimators new operation point has no impact on I.E., but reduced lifetime compared to previous run
Last week 65%
Lifetime drop, collimators new set point
Wiggler closure

## Slide 3: Optimizations runs
debugging
TL2 quads, steerers, septa, KE
TL2 quads, steerers, septa, KE. Random start
SR sext. and oct. Dyn.Ap. knobs

## Slide 4: Injection only “on-demand”: minimal injected charge, minimal use of RIPS (booster PS)
40mA injected charge for the longest optimization (30min)
Beam in booster only when needed
Change settings
8h MDT < 200mA injected for 6 optimization runs

## Slide 5: Maximum Variation of the parameters observed compared to the total range allowed

## Slide 6: Dynamic aperture optimization

## Slide 7
TuRBO optimization
~75% (-20min lifetime)
Optimizations
Up to 82%
Last run ~ 65%

## Slide 8: A more recent figure
LAST RUN ~65%
Optimizations
Up to 82%
TuRBO optimization
~75% (-20min lifetime)
Collimators new operation point has no impact on I.E., but reduced lifetime compared to previous run