## Slide 1: BlueSky & Automating Deployment at the APS
Eric Codrea

## Slide 2: The Scientific Workflow
A major component of any modern scientific instrument is its suite of support software
Control systems
Data acquisition activities
Data visualization
Data analysis

## Slide 3: Why Bluesky?
Accessibility:
  Based on Python
  Allows for inter-disciplinary teams due to common language
Integration
  Automated workflows (data management, ESAF system)
  Rich libraries of tools
  Better integration with modern equipment (e.g. area detectors)
Features
  Lots of prebuilt devices (No need to reinvent the wheel)
  Handles both multi-dimensional and asynchronous, event-based data sources
  Data can be saved in any format
Expansion
  Easy to add new features due to open-source nature
  Can be integrated with any Python programming implementation
All the reasons why we’re transitioning

## Slide 4: Different… but same
Experimental Variance at the APS
  HEDM
  XPCS
  ISN (ptychography)
  USAXS
  Deposition Lab
  Spectroscopy
The science requires different approaches but the tools for execution are the same
Allows for high customization, while keeping minimal changes to deployment structure.
Same structure creates community knowledge
Unified backend for enhanced frontend
The Vision for Deployment at the APS

## Slide 5: Different… but same
Experimental Variance at the APS
  HEDM
  XPCS
  ISN (ptychography)
  USAXS
  Deposition Lab
  Spectroscopy
The science requires different approaches but the tools for execution are the same
Allows for high customization, while keeping minimal changes to deployment structure.
Same structure creates community knowledge
Unified backend for enhanced frontend
The Vision for Deployment at the APS
UI/UX
INSTRUCTIONS
HARD TO SOFT INTERFACE
ABSTRACTION
PRODUCT

## Slide 6: How to make this work?
The need for a deployment structure that scales
What we currently have:
  A copier template for a minimal installation of the APS Bluesky Deployment
    YAML File creates package
  Instrument Package for the beamline containing all essential requirements
    Simulated Detectors & Motors
  IPython & Qserver Startup scripts
What we are building towards:
  Docker container to have all requirements in isolated environment
  Kafka Server
  Tiled Server
  Standardized Visualization Tools

## Slide 7: More Deployments, More Problems
The need for a deployment structure that scales
Number of beamlines
  Running on Bluesky: 6
  Deploying to run on Bluesky: 4
  Planned to run on Bluesky: 4
Total number of beamlines to run on Bluesky at the APS: 14
Copier makes it easy to make changes in multiple locations if the same base template is used
A lot of Beamline Scientists have frameworks that they are more comfortable with
  SPEC

## Slide 8: Eric, help me!
Current Resources
  Apstools documentation
    Devices & plans to be used across APS
  Bluesky Training
    Training Manual
  Bluesky team
Why do we need to supplement?
  Due to software novelty, domain expertise is rare
  Documentation must compensate for expertise
  Documentation must be dense enough, without being overwhelming
You’ve got Bluesky…Now what?
Number of users
Density of Documentation
Documentation is too sparse to be worth checking
Documentation is too overwhelming to find what I need
Just enough

## Slide 9: Eric, help me!
Current Resources
  Apstools documentation
  Bluesky Training
  Bluesky team
Why do we need to supplement?
  Long term, beamline scientists need to be able to debug without BC team members always present
  Time spent in support is not time spent in development
You’ve got Bluesky…Now what?
Screenshot of Bluesky Team Members Schedule

## Slide 10: Beamtime is stressful
When you’re operating in emergency mode you need have limited choices:
  Documentation is a fire extinguisher
  No one wants a hard to use fire extinguisher!
People don’t know stuff of the top of their head, so they call beamline experts
Everything is on fire
BeamTIME is too precious of a resource: you can't waste it trying to figure out how to do what you need to do

## Slide 11: CALMS OVERVIEW​
A Scientific Companion
Key components:
LLM (closed or open-source)
Document store:
  Pre-computed embeddings of scientific documentation
  User can also add their documents
Conversational memory
Access to tools
Web UI for user interaction

## Slide 12: Calms & Bluesky
Integrating Language Models with Bluesky
LLM to be integrated with Bluesky for experimental instruction building
Reduces learning curve for using Bluesky framework by answering user questions
  Can aid researchers in creating devices or plans with no Bluesky domain expertise
  Can provide answers without need to scour extensive documentation
Long Term Goal:
  Allows chaining multiple steps together, with minimal code to execute device actions
    ex: “Measure maximum surface area of sample, and mesh scan that area”

## Slide 13: Calms and Bluesky
Are there any Kohzu monochrometer devices I can use in apstools?
Examples of use cases
GPT 4o | CALMS
Falsely believed no classes for such a device and attempted to create its own Ophyd device | Successfully found the Ophyd device class inside of APS Tools

## Slide 14: Calms and Bluesky
Are there any Kohzu monochrometer devices I can use in apstools?
  Follow up: How can I use the kohzu device?
Examples of use cases
GPT 4o | CALMS
Attempted to create an Ophyd device that had components for translation, rotation, and nothing else | Provided Code snippet with how to instantiate class and import path, as well as example commands

## Slide 15: Calms and Bluesky
Are there any apstools plans I can use to align my beam with my sample?
Examples of use cases
GPT 4o | CALMS
Had no idea about any actual plans within APStools and hallucinated results to provide answers | Found the function within APStools called lineup and gave arguments needed to use said function. Said that if using Qserver use lineup2, since lineup does not work with it (correct)

## Slide 16: Conclusion
Bluesky offers a versatile and efficient framework for managing diverse scientific workflows at the APS, allowing for both standardization and customization.
Templates are a great way to distribute the same package structure without having one central package due to different user need
Integration with CALMS and the use of language models streamline the learning curve, making it easier for users to operate without extensive domain knowledge.
Future Vision
  Implement Docker & Improve template for quicker beamline commissioning
  Enhance documentation for more in depth problem solving

## Slide 17: Acknowledgements
Bluesky Contributors:
  Pete Jemian
  Fanny Rodolakis
  Rafael Vescovi
LLM Team:
  Mathew Cherukara
  Michael Prince

## Slide 18: Questions?