## Slide 2
9 experimental rooms
5 Cyclotrons
technical premises
NFS & S3
experimental rooms
SPIRAL2 superconducting LINAC
Control Room
technical premises
DESIR experipmental room under construction
GANIL Accelerator plant
Scope of my presentation

## Slide 3
Services
HMI
RT controler
PLC
> 3000 Devices
Supervisions
Eth
Field network
Panels
Misc server (boot …)
Data Base (Ingres)
Alarms - Archiver
File System
Elogbook (J5 logbook)
I/O cards
Field network
Cyclotrons Control System Architecture
PLC
SW

## Slide 4
Cyclotrons Control System Architecture
Typical Use cases
Ions Sources Spectrum analysis
Beam steering Magnet tuning & cycling
Beam accel. Cavities amp/phase
Beam diag. Intensity/Position/Phase
Misc Monitoring/Alarms

## Slide 5
Cyclotrons Control System Architecture
Technologies
Ions Sources Spectrum analysis
Beam steering Magnet cycling
Beam accel. Cavities amp/phase
Beam diag. Intensity/Position/Phase
Misc Monitoring/Alarms
45 HMI
  ADA/MOTIF/XRT
31 RT applications
  MVME CPU/ADA

## Slide 6
XRT/MOTIF
  Setting the service U&R with new Linux machines more difficult
  Knowledge lost due to retirements
  No real framework/IDE, even light modifs take time
=> Obsolescence risk HMI may become incompatible with next generation of Linux machines
ADA Control System issues

## Slide 7
Requirement:
Ensure CS availability for at least the next 2 decades
Strategy:
  Replace MOTIF/XRT by a web technology
Strategy going forward

## Slide 8
  Replace MOTIF/XRT by a web technology
    Refactoring from spaghetti to layered architecture
      Presentation (1 MLoC)/Application (900 kLoC)/Persistance
      Keep the core application code in ADA (30 years maturity)
    Develop Web services & HMI
    Call for tender to outsource part of the work
Strategy going forward

## Slide 9
  Part of a GANIL CYREN (CYclotron RENovation) project
    Budget granted
  Replace MOTIF/XRT by a web technology
    Call for tender in preparation
      Expect contract signature for Q2 2025 (for ~3 years)
    Web technology not chosen yet
      FLUTTER used for prototyping
    1 HMI prototyped and tested, 2 more on going
OnGoing & Planned developements

## Slide 10
  Define efficient organization with sub-contractor
  Making a success of the code refactoring
    Not too much regression
  Selection criteria for the web technology:
    User & Developer experience
    Dart/Flutter vs JS + HTML+ CSS => Angular vs React vs VueJs … others ?
    Learning curve / testability / maintainability / performance / sustainability … ?
  Make a step forward in testing
    Automated HMI testing
    Automated component testing
    CI/CD
  Making a success of the commissioning
Challenges / Takeaways

## Slide 11: Thank you