## Slide 1: The Karabo Ecosystem at the European XFEL
Steffen Hauf
Group Leader Controls European XFEL GmbH

## Slide 2: Beamline layout and experiment stations
DOOCS
Karabo
DOOCS

## Slide 3: The Karabo SCADA systems connects them all – Example: MID Instrument
Time server
Key features to look out for in all topics:
  Timeserver: a central communication point for timing information
  Large Beckhoff loops, often interconnected via middlelayer devices and interlock conditions
  Processing pipelines, e.g. detector calibration
AGIPD Online Calibration
Beckhoff

## Slide 4: Data Drivers at the Facility
X-ray Detectors
Custom Digitizer and FPGA solution
Commercial Cameras
PLC systems and other “slow” data
90% of facility < 1% of data
3% of facility – 90% of data
2% of facility – 5% of data
5% of facility – 5% of data

## Slide 5: Karabo - A SCADA Framework: Framework Design
General | C++ API | Python Bound API | Middlelayer API
Event driven Asynchronous Self-descriptive Common, hierarchic data container supporting attributes on leafs: Karabo Hash Binary and XML serialization Extensible: core + “Devices“ | C++14 and Boost Smart pointers Template-heavy Boost.asio Eventloop based Devices are threads on a single server Aimed at high-performance devices | Exposes C++ API via Boost.Python Devices are separate processes Was aimed at p2p heavy devices which e.g. need numpy Not always pythonic | Python asyncio Decorators annotate Karabo structures Emphasis on interaction with other devices Pythonic

## Slide 6: The Karabo Ecosystem – Usage of the three APIs
Nowadays, very often the Python middlelayer API, as “fastest time to market instrument”

## Slide 7: The Karabo Ecosystem – Highlights of the three APIs: Karabo Beckhoff Interface
API: C++
Builds upon: boost
Special because:
  Controls almost all PLC solutions at the facility
  Partially self-descriptive rendering via Karabo Schema injection
  Event-driven, up to 1kHz updates on some devices

## Slide 8: The Karabo Ecosystem – Highlights of the three APIs: Online Calibration
API: Bound and MDL
Builds upon: boost, numpy, CUDA, pyCUDA
Special because:
  online correction of up to 4kHz images
  Highly configurable

## Slide 9: The Karabo Ecosystem – Highlights of the three APIs: Data Acquistion
API: C++
Builds upon: boost, hdf5
Special because:
  Data rate of ~20 GB/s
  Versatile in that almost any Karabo exposed parameter can be stored

## Slide 10: Centralized Data Acquisition
HDF5
HDF5
Broker
Central DAQ instance per instrument/installation
Distributed ”Data Aggregators”
  1 per MHz detector module (e.g. 16 total)
  ~5-10 for remaining data
    Fast pipeline data: Imagers, digitizers
    Slow broker data
Data acquisition is run-based. A run is a period of (semi-) static experimental conditions
  Importantly, data shapes* and Karabo device schema do not change
* Except along pulse axis
Data Aggregator
Data Aggregator
XTDF Data Aggregator
Detector module
XTDF Data Aggregator
Detector module
XTDF Data Aggregator
Detector module
XTDF Data Aggregator
Detector module
10G UDP
Gauge
Motor
Motor
Gauge
Cam
Cam
p2p
HDF5
HDF5
HDF5
HDF5
HDF5
HDF5
HDF5
HDF5
HDF5
HDF5
HDF5
HDF5
HDF5
HDF5
HDF5
HDF5
Run N
Run N-1
Seq 0
Seq N
…

## Slide 11: Centralized Data Acquisition
HDF5
HDF5
Broker
Implemented as Karabo Devices (C++)
Up to ˜30 GB/s for a full installation
Single aggregator can handle a few 1000 slow control properties
Within one sequence file all sources are aligned by train id in the rows of the HDF5 tables
Current work: refactoring to facilitate integration of online data reduction using RDMA offloading of processing.
Data Aggregator
Data Aggregator
XTDF Data Aggregator
Detector module
XTDF Data Aggregator
Detector module
XTDF Data Aggregator
Detector module
XTDF Data Aggregator
Detector module
10G UDP
Gauge
Motor
Motor
Gauge
Cam
Cam
p2p
HDF5
HDF5
HDF5
HDF5
HDF5
HDF5
HDF5
HDF5
HDF5
HDF5
HDF5
HDF5
HDF5
HDF5
HDF5
HDF5
Run N
Run N-1
Seq 0
Seq N
…
Contacts: Alessandro Silenzi/Dennis Goeries

## Slide 12: Centralized Data Acquisition
HDF5
HDF5
Broker
Data Aggregator
Data Aggregator
XTDF Data Aggregator
Detector module
XTDF Data Aggregator
Detector module
XTDF Data Aggregator
Detector module
XTDF Data Aggregator
Detector module
10G UDP
Gauge
Motor
Motor
Gauge
Cam
Cam
p2p
HDF5
HDF5
HDF5
HDF5
HDF5
HDF5
HDF5
HDF5
HDF5
HDF5
HDF5
HDF5
HDF5
HDF5
HDF5
HDF5
Run N
Run N-1
Seq 0
Seq N
…
Contacts: Alessandro Silenzi/Dennis Goeries
Monitor Out
Monitor Out
Online Processing
(Karabo)
TCP

## Slide 13: Importance of Facility-Side Processing: Calibration

## Slide 14: Importance of Facility-Side Processing: Online Calibration and Data Reduction
Contact: Egor Sobolev (Data Analysis)

## Slide 15: The Karabo Ecosystem – Highlights of the three APIs: VirtualMotorBase MDL
API: MDL
Builds upon:
Special because:
  Exemplary usage of MDL proxy capabilities for coordinated motion on multiple axes
  Hierarchical, extensible and pluggable, while maintaining a single interface

## Slide 16: The Karabo Ecosystem – Highlights of the three APIs: SCPI MDL and SCPI Bound
API: MDL and Bound
Builds upon:
Special because:
  Generic and rapid integration through SCPI identifiers
  Karabo Parameters determine types

## Slide 17: Not Covered (much): Devices
Also not covered in much detail: devices - there’s >400 projects in active use in our git repos...
Many small ones but others in ~50k lines of code, e.g. Beckhoff integration
Many contributions by other groups at the facility as well.

## Slide 18: Karabo Hardware Devices – an incomplete list of what is supported
Core Services
Data Logging
Data Acquisition
Gui Server
Alarms & Notification
Recovery Portal
Motor Configurator
Scan Tool
Motion
Beckhoff MC2*
Smaract
Hexapod
NanoCube
…
Commercial Cameras
Basler via Aravis
Genicam
GreatEyes
PI MTE3
Andor Zylar, …
Shimadzu HPvx
X-ray Detectors
Jungfrau
Gotthard
Epix
AGIPD
LPD
DSSC
Timepix3
…
Power Supplies
Wiener MPOD
Keithley
Agilant
Digitizers
SP devices ADQ 412
SP devices ADQ 7
SP devices ADQ 14
FastADC
Vacuum Components*
Adixon
Pfeiffer
Infinicon
Agilant
Chillers & Thermo Contr.*
Huber
K2
Julabo
Keithley
Lakeshore
…
Scopes and …meters
OceanOptics
GENTEC Tetronix
LeCroy
MCS Beam Stab.
…
Bridging
SCPI
DOOCS
EPICS (in progress)
Tango (in progress)
* via Beckhoff PLC integration