## Slide 1
Databases supporting X-ray optics simulations
Manuel Sanchez del Rio
Advanced Analysis & Precision Unit, MEG/ISDD, ESRF
Monday 23 September, 2024

## Slide 2: Contents
Motivation
Basic calculations: lenses, mirrors, crystals
Data providers
X-rays
  DABAX
  Xraylib
Metrology
  DABAM (1D)
  2D
IDs for EBS-ESRF

## Slide 3: The refraction index
CPMU14.4
CPMU18
CPMU14.4
Notes: Comparison some examples

## Slide 4: Examples
CPMU14.4
CPMU18
CPMU14.4
Single interface
Lens
Compound Refractive Lens (CRL)
Transfocator
Attenuators (filters)
0.4 mm
Al
X-ray beam
X-ray refractors
Notes: Comparison some examples

## Slide 5: Examples
Mirrors
X-ray beam
Grazing Angle
Ni coating
Multilayers
Notes: Comparison some examples

## Slide 6: Examples
Crystals
BRAGG or reflection
LAUE or transmission
Notes: Comparison some examples

## Slide 7
Crystals: Dynamical theory for plane crystals
7
BRAGG or reflection
LAUE or transmission

## Slide 8: Developed during the early 1990s to suit local needs at the ESRF and the APS (efforts officially merged 1995; now 30 years… 2020 end of life)
X-Ray Sources
X-Ray Optics and Photon -Atom Interactions
General Purpose Tools and Documentation
XOP Extensions
SHADOWVUI
  Interface to the SHADOW ray-tracing code (Cerrina et al.)
IMD
  Multilayer software (Windt)
TOPO
  Surface topography (Windt)
XPLOT

## Slide 9: Calculation tools: OASYS
SRW
XOPPY
Orange
GUI (Python)
SYNED
ESRF Add-Ons
Utilities
WOFRY
SHADOWOUI
Luca Rebuffi (ANL) & Manuel Sánchez del Río (ESRF)
https://oasys-kit.github.io/

## Slide 10: DAtaBAse for X-rays (DABAX)
CPMU14.4
CPMU18
CPMU14.4
https://github.com/oasys-kit/DabaxFiles
Notes: Comparison some examples

## Slide 11: DABAX python lib
CPMU18
CPMU14.4
https://github.com/oasys-kit/dabax
Notes: Comparison some examples

## Slide 12: Xraylib (Tom Schoonjans)
CPMU14.4
CPMU18
CPMU14.4
http://github.com/tschoonj/xraylib
Notes: Comparison some examples

## Slide 13: Crystals
CPMU14.4
CPMU18
CPMU14.4
https://x-server.gmca.aps.anl.gov/
Notes: Comparison some examples

## Slide 14: Performance of beamlines is limited
CPMU14.4
by the surface finish of the optics:
Residual surface errors (figure)
Roughness
Notes: Comparison some examples

## Slide 15: DABAM
CPMU14.4
https://github.com/oasys-kit/DabamFiles
Notes: Comparison some examples

## Slide 16: DABAM
CPMU14.4
Notes: Comparison some examples

## Slide 17: DABAM in OASYS
CPMU14.4
Ray tracing (SHADOW)
Wave optics (SRW)
Notes: Comparison some examples

## Slide 18: DABAM2D (UNDER DEVELOPMENT)
CPMU14.4
Notes: Comparison some examples

## Slide 19: ID application
CPMU14.4
Notes: Comparison some examples

## Slide 20: SUMMARY
CPMU14.4
X-ray applications (DABAX, xraylib)
Optics Metrology (DABAM, DABAM2D)
Focus on data
Python access (used in OASYS)
Notes: Comparison some examples