## Slide 1: first tests with pyAML at MAX IV
M. Apollonio
M. Sjöström
A. Al-Sakeeri
R. Nieuwenhuis
R. Rocca
15/11/2024
pyAML zoom meeting
1
pyAML 15/11/2014

## Slide 2
15/11/2024
pyAML zoom meeting
2
pyAML testing at MAX IV
Our team:
  2 members of Accelerator Development (Matlab, MML)
  3 members of Operations (Python, pyAT)
MAX IV AccDev commitment mainly focused on MAX-4U upgrade
Operators main task is ensuring a performing machine
  not 100% on this task / ctrl room activities when possible
Opted for a gradual approach
  Inspiration from previous work
    steal-in-style
  try few simple tests to get a grip on python/tango use with typical ML problems
In GitHub repo
  Sirius (PyACAL) <<< main structure
  ESRF/EBS (pyAML) <<< test cases + use of tango
Implemented tests
  Orbit Response Matrix measurements at R1 (1.5 GeV) and R3 (3GeV)
  Chromaticity measurement
  Dispersion measurement
  Check also https://elogy.maxiv.lu.se/logbooks/133/entries/41401/

## Slide 3
15/11/2024
pyAML zoom meeting
3

## Slide 4
15/11/2024
pyAML zoom meeting
4
400 (BPM) x380 (CM) [H/V]
+ / - excitation of CMs
SOFB activated between readings
5 readings per BPM (average)
  1hr53m (long)
    SOFB on, correct orb. for 2s
    SOFB off, sleep 1s
    Orbit readout (t=?)
1 reading per BPM
  1h15m (long)
  About 10s observed for every measurement
  Without orb. Corr ~ 1hr
NOTE : in MML 3-4 sec x 380 < 1500s = 30min
Visually good comparison with MML, but little scale mismatch
Investigating the nature of the long
acquisition time
R3 - pyAML
R3 - MML
BPM response matrix – R3

## Slide 5
15/11/2024
pyAML zoom meeting
5
chromaticity measurement – R3:
tune readings over 5 RF point scan
pyAML : x = 1.35 / 1.43
x2 = -47 / -8
MML (measchro) : x = 1.33 / 1.44
x2 = -34 / 1.8

## Slide 6
15/11/2024
pyAML zoom meeting
6
pyAML
  found scale pb, um2m  nm2m
  corrected, good match with MML
MML (measdisp)
dispersion measurement – R3

## Slide 7
15/11/2024
pyAML zoom meeting
7
at MAXI IV we have two rings operating at 1.5GeV and 3GeV
  Eventually we will need to easily switch from one case to another
We had a first go measuring the ORM,
  Almost working but need to check how to mask-off CMs too close to saturation values
  Also noticed some noisy lines, which are object of investigation
We tested also the measurement of chromaticity/dispersion
  while scanning freq. for R1 we actually … acted on R3 (dumping the beam)!
  this was due to a hardcoded section of rfgen.py, selecting the 1st element of a vector
    (‘R3RFgen’, ‘R1RFgen’)
  the mistake looks a bit embarrassing, but tells us to be careful since we have two SR
notes on tests at R1
R1 - pyAML

## Slide 8
15/11/2024
pyAML zoom meeting
8
Using the Tango SOFB with pyAML
At MAX IV the SOFB is ran via a TANGO device
This TANGO device is not a PV: it doesn't have a set point/readback
  We simply wish to execute commands on it (on/off)
Current hack:
  Define an SOFB device with the property 'state'
  Access the TANGO DS directly to execute commands
This is horrible practice!
  The point of a ML is to not access DSs directly
  It is not sustainable to do this for many devices
How should we handle this with pyAML?

## Slide 9
15/11/2024
pyAML zoom meeting
9
early days at MAX IV with pyAML
main scripts taken from work developed at Sirius and ESRF
we tried some basic typical functions needed in the ctrl room
  ORM measurement
  dispersion measurement
  chromaticity measurement
good results on ring R3
code issues when acting on the RF generator at R1
  minor problem, but hardcoding spotted
  need care when developing a system for >1 machines
longer than MML time to measure ORM with pyAML
  under investigation
    at present: PV writing + waiting for read-back matching setpoint
    speeding up by fixing readtime? This has been quite optimised in MML (M.S.)
    ensure BPMs are grouped or reading is synchronized
medium term
  build up an ML structure
  e.g. getsp, setsp addressing families and locations (achromat, element)
conclusions
Notes:   This was because when writing to a PV, pyAML waits for a readback from that PV. In this case, pyAML writes to a powersupply, then continuously reads the power until this matches the new set point. This takes a long time to update in the TANGO device, so it's not entirely a pyAML issue I think. The way to prevent this and speed up the runtime is to not wait for the readback, but to instead just wait some fixed amount of time. I am not sure how Matlab MML does