## Slide 1
S.Liuzzo (ESRF), A.Latina (CERN)
COLD and 6GeV Linac optics matching and optimization
More realistic assumptions for COLD and 6GeV linac space
Shorter linac module options
Magnet gradients
Effect of a gaussian or flat beam at cathode.

## Slide 2: Layout for High power RF tests and dark currents measurement with dimensions
12 cm
20 cm
10 cm
20 cm
10 cm
12 cm
20 cm
12 cm
shielding
Accelerating structures
Quadrupole
Vaccum valve
Faraday cup
shielding
Faraday cup
BLM
BLM
Neutron monitor
bellow
bellow
328 cm
Quadrupole
Quadrupole

## Slide 3: Electron beam Layout COLD Phase 1
10 cm
12 cm
12 cm
12 cm
12 cm
20 cm
10 cm
20 cm
10 cm
12 cm
40 cm
A.Cianchi: https://jacow.org/e08/papers/MOPC068.pdf
L.Badano: https://jacow.org/d07/papers/TUPC11.pdf
20 cm
20 cm
40 cm
12 cm
20 cm
*12 cm
shielding
GUN
SOLENOID
on movers
HV corrector
SCREEN
From Compact Light CDR
destructive
sparc-mm-06/001
Current transformer
BPM
Vaccum valve
stripline
Accelerating structures
3xQuadrupole
on movers
BPM
stripline
Vaccum valve
laser optics table
SCREEN
For emittance with quadrupole scan
RF deflector
https://doi.org/10.1016/j.nima.2006.07.050
Dipole
Faraday cup
BPM
shielding
SCREEN
Faraday cup
BPM
Laser input
stripline
For energy
HV corrector
1x “6GeV linac module”, the #0
BLM
BLM
BLM
Neutron monitor
Neutron monitor
Neutron monitor
bellow
bellow
Corrector around BPM
PC
1 single C-band RF-unit
Needed? How to power it?
To be designed or available?
Faraday cup
switchable
3.9m long

## Slide 4: Electron Beam line Layout COLD Phase 2
stripline
A.Cianchi: https://jacow.org/e08/papers/MOPC068.pdf
L.Badano: https://jacow.org/d07/papers/TUPC11.pdf
1x “6GeV linac module”, prototype
GUN
SOLENOID
on movers
HV corrector
SCREEN
From Compact Light CDR
destructive
sparc-mm-06/001
Current transformer
BPM
Vaccum valve
laser optics table
Laser input
BLM
Neutron monitor
shielding
SCREEN
For emittance with quadrupole scan
RF deflector
https://doi.org/10.1016/j.nima.2006.07.050
Dipole
Faraday cup
BPM
shielding
SCREEN
Faraday cup
BPM
stripline
For energy
HV corrector
BLM
Neutron monitor
Acc. structures
3xQuadrupole
on movers
BPM
stripline
Vaccum valve
BLM
Neutron monitor
bellow
1x “6GeV linac module”, the #1
GUN SECTION
DIAGNOSTICS/DUMP SECTION
BPM inside quad
Acc. structures
Quadrupole
on movers
stripline
Compact Vaccum valve
BLM
Neutron monitor
bellow
bellow
bellow
PC
1 single C-band RF-unit
Optimized length
Screen or valve alternating
3.9m long
3.1m long
328cm
278cm

## Slide 5: WP-11 Beam dynamics
Cryomodule length = 3.28m
1 Acc.Struct. Length = 1.06 m
Phase 1
Updated COLD simulations including all elements described above and full size QCM, for phase 1 and 2
Will update also full linac simulations, likely less energy margin and longer linac: 161m for a 6GeV linac. Instead of 110m for a 6.7GeV linac in previous simulations.
The cryomodule adds more than 1m to the over all length. A more compact design will be studied for the second module to be installed.
Phase 2
Thanks to A.Latina for correction and improvement of the simulations scripts
5mm.mrad
9mm.mrad

## Slide 6: 6GeV linac in 161m
/COLD/cold_6Gev_V0.py
Emittance blow up
Classic linear optics matching does not work, missing RF focusing, wake fields, Space charge,…
A 6GeV linac using SLAC’s cryomodules is too long

## Slide 7: Slow, step by step optimization, including long cryomodules
Step 5
Step 3
Step 7
1GeV
2.7GeV
5GeV
Progressively frozen beam parameters for faster optimization
Scripts in: /machfs/liuzzo/C3Linac/COLD/cold_ph**_V3.py
Step 10
6.4GeV
4mm.mrad, ~ 500pmrad@6GeV
0.2% energy spread
0.5mm bunch length
170m

## Slide 8: gradients

## Slide 9: Shorter 6GeV linac unit module
BPM inside quad
Acc. structures
Quadrupole
on movers
stripline
Compact Vaccum valve
BLM
bellow
bellow
328cm
10cm
10cm
12cm
Is a 50cm shorter cryomodule possible?
For example assuming a single 2m long structure instead of 2 x 1m.
7.8m
BPM inside quad
Acc. structures
Quadrupole
on movers
stripline
Compact Vaccum valve
BLM
Neutron monitor
bellow
bellow
278cm
10cm
10cm
12cm
Acc. structures
bellow
278cm
Screen
5.93 m
Quadrupole on mover around BPM stripline. bore radius of quadrupoles (10cm, 35T/m) needs to let space for BPM stripline and mover motions.
The shorter the better!
5.7m possible? (one extra module)
BPM inside quad
Acc. structures
Quadrupole
on movers
stripline
screen
BLM
Neutron monitor
bellow
bellow
PC
50MW
PC
50MW

## Slide 10: Shorter unit module 6GeV Linac
4mm.mrad, ~400pmrad@6GeV
0.19% energy spread
0.5mm bunch length
6.444 GeV in 170m, 21 x 7.8m modules
5.6mm.mrad, ~500pmrad@6GeV
0.18% energy spread
0.5mm bunch length
6.159 GeV in 132m, 21 x 5.93m modules
Fits on ESRF site

## Slide 11: Gaussian beam instead of plateau
4mm.mrad, ~400pmrad@6GeV
0.2% energy spread
0.5mm bunch length
Flat beam “pleateau”
Gaussian beam
5.3mm.mrad, ~500pmrad@6GeV
0.2% energy spread
0.5mm bunch length

## Slide 12: CONCLUSION
Beam dynamics model updated with more realistic dimensions.
Start-to-end simulations including space charge and short range wavefields for 700pC beam
Linac optics matching in presence of wakefields and space charge is not trivial. Improvements done.
A shorter linac unit module is needed for the 6GeV linac. Using the SLAC cryomodule design, the linac dimensions exceed the available space. A module length of 5.7m would allow for a 6.3 GeV in 132m (5% margin, one linac module).
A 5.93m long module, using half the quadrupoles and half the diagnostics, and assuming 50cm shorter cryomodules, would work with similar parameters. Error tolerances to be assessed.
Gaussian beam instead of flat top, would also be ok.